



 EMBED Designer.Drawing.7  [image: image1.wmf]2-9/16" (65mm)

Thumb Piece Hole

1/2" (12mm) dia

Drill 1/2 of the door

thickness from inside

Optional Cylinder Hole

1-1/4" (31.8mm) dia

(to use D400-AS/AD

Deadbolt Cylinders )

Drill this hole only if

cylinder (D400-AS/AD)

is applied this side.  

Lever Hole

3/4" (19mm) dia

Drill though

Optional  Through

Bolting Hole x 2

Check Trim/Rosette

instruction before 

drilling

50mm (2")

4mm

(3/16")

For 1-3/4" thick door, fold here, attached to the

door at desire height.  Mark the position of 

necessary holes for Face bore and Edge bore.

7/8"

Mortise 

3/4" deep

for dust box

Strike 

screw

location

Strike 

screw

location

Mortise  2

-7/8"  deep

for mortise 

lock case

Mounting 

Screw

location

Mounting 

Screw

location

Template 

for

 D550LL

Line up with vertical line on door

Door Handling is field-reversible -

simply rotate the latch tongue for 

180 degree after the lock case is

fastened with the mounting screws; 

and then attach the Faceplate and

fasten with the Faceplate Screws.

No. D550LL / 90420

Edge Bore

Face Bore

Insert the lock case into the mortise with Faceplate

attached, Mark outline of Faceplate, remove the lock

case and mortise for 3/16" deep to suit for flush mount

1-3/8"

2-1/4"

1-3/4"

Center line

Strike Line

Strike Line

30mm

38mm


_1301840272.unknown

_1301840271.unknown

