
[image: image1.wmf]Backset 2-3/8" (60mm)

Door edge

Door face

1/8" deep

Door 

thickness

Backset 2-3/4" (70mm)

2-1/4"

1-3/4"

1-3/8"

LATCH TEMPLATE

STRIKE TEMPLATE

2-1/4"

1-3/4"

1-3/8"

Door 

thickness

Mounting screw for

Standard T strike,

Extended Full Lip

and T  Strike

Mount. screw

for LT-SE182

Full Lip Strike

Strike 

Center

Mount. screw

for Faceplate

1" X 5/8"

 deep

1/8" deep

Mount. screw

for Faceplate

Fold on dotted line and place against 

the door stop.  Mark the position of  

necessary holes for Jam bore

Strike 

Center

Mounting screw for

Standard T strike,

Extended Full Lip

and T  Strike

Mount. screw

for LT-SE182

Full Lip Strike

1" X 5/8"

 deep

Backset 2-3/8" (60mm)

Backset 2-3/4" (70mm)

Door edge

Door face

Door

thickness

LATCH TEMPLATE

STRIKE TEMPLATE

2-1/4"

1-3/4"

1-3/8"

2-1/4"

1-3/4"

1-3/8"

Door 

thickness

Installation Template

 

For LT345/367 KE Entrance Latch

Fold on dotted line and place against 

the door stop.  Mark the position of  

necessary holes for Jam bore

Fold on dotted line and a

ttach to the door

at 

desire 

height.  

Mark the position of

necessary 

holes for 

Face 

and Edge bores.

Fold on dotted line and a

ttach to the door

at 

desire 

height.  

Mark the position of

necessary 

holes for 

Face 

and Edge bores.

1"

3"

5"

7"

7"

9"

1"

3"

5"

Depth of  Edge bore :  backset 

2-3/8"  bore 3-1/2" 

  deep

    (1" in diameter)        backset 2-3/4"  bore 3-3/4"  deep

Depth of  Edge bore :  

backset 2-3/8" bore 3-1/2" 

  deep

    (1" in diameter)        backset 2-3/4" bore 3-3/4"  deep

Check drawing measurements

when reprinting


_1301740366.unknown

