
[image: image1.wmf]Backset 2-3/8" (60mm)

Door edge

Door face

5/32" deep

Door 

thickness

Backset 2-3/4" (70mm)

2"

1-3/4"

1-3/8"

LATCH TEMPLATE

STRIKE TEMPLATE

2"

1-3/4"

1-3/8"

Door 

thickness

Mounting screw for

Standard T strike,

Extended Full Lip,

and T  Strike

Strike 

Center

Mount. screw

for Faceplate

5/32" deep

Mount. screw

for Faceplate

Fold on dotted line and place against 

the door stop.  Mark the position of  

necessary holes for Jam bore

Strike 

Center

Mounting screw for

Standard T strike,

Extended Full Lip

and  T  Strike

Backset 2-3/8" (60mm)

Backset 2-3/4" (70mm)

Door edge

Door face

Door

thickness

LATCH TEMPLATE

STRIKE TEMPLATE

Installation Template

 

For LT580/583/586 KS,KV

2"

1-3/4"

1-3/8"

2"

1-3/4"

1-3/8"

Door 

thickness

Installation Template

 

For LT580/583/586 KS,KV

Fold on dotted line and a

ttach to the door

at 

desire 

height.  

Mark the position of

necessary 

holes for 

Face 

and Edge bores.

Fold on dotted line and a

ttach to the door

at 

desire 

height.  

Mark the position of

necessary 

holes for 

Face 

and Edge bores.

Backset 2" (51mm)

Backset 2 " (51mm)

11/16"

1"

3"

5"

7"

1"

3"

5"

4"

2"

1"

3"

5"

2"

4"

Edge bore

- 2" & 2-3/8"

     drill 3-3/8" deep

-2-3/4" 

     drill 3-3/4" deep

7/8" X 5/8"

 deep

Mount. screw

for LT-SE182

Full Lip Strike

7/8'" X 5/8"

 deep

Mount. screw

for LT-SE182

Full Lip Strike

Fold on dotted line and place against 

the door stop.  Mark the position of  

necessary holes for Jam bore

Edge bore

- 2" & 2-3/8"

     drill 3-3/8" deep

-2-3/4" 

     drill 3-3/4" deep

1-1/4" dia. face bore or consult

to the installation menu for the

Knob/Lever set enclosed

1-1/4" dia. face bore or consult

to the installation menu for the

Knob/Lever set enclosed

Printed in USA

Printed in USA

6"

4"

2"

Check drawing

measurements

when reprint

Check drawing

measurements

when reprint


_1294202484.unknown

